Average Water Usage The typical home uses 384 gallons of water daily, indoors and out. The average apartment or condominium uses 256 gallons daily. An individual uses between 100 and 140 gallons of water each day. Inside the house, typical activities use water as follows: Activity; Water Usage. Bath; 20 gallons. Shower; 40 gallons every 10 minutes. Washing, etc. at Bathroom Sink; 3 gallons per person each day. Cooking & Drinking; 5 gallons per person each day. Dishwashing; 15 gallons per load. Laundry; 45 gallons per load. Flushing Toilets; 28 gallons per person each day. Outside the house, typical activities use water as follows: Activity; Water Usage*. Lawn; 18 gallons per square foot annually. Bedding Plants/Shrubs/Trees; 7.5 gallons per square foot annually. Vegetable Garden & Fruit Trees; 10 gallons per square foot annually. Hosing Driveway; 150 gallons. Washing Car; 150 gallons. *The data above are national averages and are used only to show relative differences. Landscape water demand varies with local climate, plant selection, and sun/shade exposure. Swimming pool evaporation is for uncovered pools…up to 95% of that evaporation is eliminated with a pool cover.